## Slide 1: Финальный (межрегиональный) этап чемпионата 2024 Промышленная автоматика Санкт-Петербург
Модуль Д. HMI

## Slide 4
Ошибка 1
Ошибка 2
Ошибка 3
Ошибка 4
Ошибка 5

## Slide 7
55
56
57
58
59
60

## Slide 9
Pos | HMI Переменные |  | 
 | Variable | Action | Comment
1 | MA1_Is_ON | Background Control Colour | 0 = Gray 1 = Green
2 | S11 | Background Control Colour | 0 = Gray 1 = Green
3 | S12 | Background Control Colour | 0 = Gray 1 = Green
4 | MA2_Is_ON | Background Control Colour | 0 = Gray 1 = Green
5 | - | - | -
6 | S11 | Visibility dynamic | 0 = Not visible 1 = Visible
7 | - | - | -
8 | P10 | Background Control Colour | 0 = Green 1 = Yellow
9 | P11 | Background Control Colour | 0 = Green 1 = Yellow
10 | P12 | Background Control Colour | 0 = Green 1 = Yellow
11 | Stove_temperature | Output field | Value: 0-1200
12 | P8 | Foreground Control Colour | Fill style: shaded 0 = Gray 1 = Red
13 | P9 | Foreground Control Colour | Fill style: shaded 0 = Gray 1 = Red
14 | S16 | Visibility dynamic | 0 = Not visible 1 = Visible
15 | S12 | Visibility dynamic | 0 = Not visible 1 = Visible

## Slide 10
Pos | HMI Переменные |  | 
 | Variable | Action | Comment
16 | S16 | Visibility dynamic | 0 = Not visible 1 = Visible
17 | S13 | Background Control Colour | 0 = Gray 1 = Green
18 | S14 | Background Control Colour | 0 = Gray 1 = Green
19 | S15 | Background Control Colour | 0 = Gray 1 = Green
20 | S16 | Background Control Colour | 0 = Gray 1 = Green
21 | Turn_ON_P10 | Button control | "InvertBit" while botton is pressed
22 | Turn_ON_P11 | Button control | "InvertBit" while botton is pressed
23 | Turn_ON_P12 | Button control | "InvertBit" while botton is pressed
24 | P10 | Background Control Colour | 0 = Gray 1 = Green
25 | P11 | Background Control Colour | 0 = Gray 1 = Yellow
26 | P12 | Background Control Colour | 0 = Gray 1 = Red
27 | Start_Heat_1 | Button control | "InvertBit" while botton is pressed
28 | Start_Heat_2 | Button control | "InvertBit" while botton is pressed
29 | P8 | Background Control Colour | 0 = Gray 1 = Green
30 | P9 | Background Control Colour | 0 = Gray 1 = Green

## Slide 11
Pos | HMI Переменные |  | 
 | Variable | Action | Comment
31 | Open_stove_door | Button control | "State 1" while botton is pressed
32 | Close_stove_door | Button control | "State 1" while botton is pressed
33 | MA1_CW_ON | Background Control Colour | 0 = Gray 1 = Green
34 | MA1_CCW_ON | Background Control Colour | 0 = Gray 1 = Green
35 | Material_feed | Button control | "State 1" while botton is pressed
36 | Material_return | Button control | "State 1" while botton is pressed
37 | Stop_Material_feed | Button control | "State 1" while botton is pressed
38 | Stop_Material_return | Button control | "State 1" while botton is pressed
39 | MA2_CW_ON | Background Control Colour | 0 = Gray 1 = Green
40 | MA2_CCW_ON | Background Control Colour | 0 = Gray 1 = Green
41 | - | - | -
42 | MA2_Setpoint | Input/Output field | Value: 0-50
43 | Actual_speed | Output field | Value: 0-50
44 | - | - | -
45 |  | System function | "Stop runtime" while botton is pressed

## Slide 12
Pos | HMI Переменные |  | 
 | Variable | Action | Comment
46 | Ready | Background Control Colour | 0 = Gray 1 = Green
47 | Cycle_active | Background Control Colour | 0 = Gray 1 = Green
48 | Automatic_Start | Button control | "State 1" while botton is pressed
49 | Automatic_Stop | Button control | "State 1" while botton is pressed
50 | Actual_speed | Output field | Value: 0-50
51 | S13 | Visibility dynamic | 0 = Not visible 1 = Visible
52 | S14 | Visibility dynamic | 0 = Not visible 1 = Visible
53 | S15 | Visibility dynamic | 0 = Not visible 1 = Visible
54 | S16 | Visibility dynamic | 0 = Not visible 1 = Visible
55 | Error 1 | Background Control Colour | 0 = Green 1 = Red
56 | Error 2 | Background Control Colour | 0 = Green 1 = Red
57 | Error 3 | Background Control Colour | 0 = Green 1 = Red
58 | Error 4 | Background Control Colour | 0 = Green 1 = Red
59 | Error 5 | Background Control Colour | 0 = Green 1 = Red
60 | Error_Reset | Button control | "State 1" while botton is pressed